HIMMS and RSNA

IHE

Integrating the Healthcare Enterprise

Calibration Tools

2000-06-21

Marco Eichelberg1,  Klaus Kleber2, Jörg Riesmeier1

1  Kuratorium OFFIS e.V., Escherweg 2, 26121 Oldenburg, Germany

2  Institute for Microtherapy, Universitätsstraße 142, 44799 Bochum, Germany

Contents

1	Introduction	3

2	Calibration tools	3

2.1	Hardcopy	3

2.1.1	Densitometer for transmissive media	3

2.1.2	Densitometer for reflective media	3

2.2	Softcopy	4

2.2.1	Luminance meter (on-screen)	4

2.2.2	Luminance meter (distance)	5

3	References	6

# Introduction

This document is intended for those vendors participating in the IHE Year 2 demonstration which will supply

- a Print Server Actor, which is required to support the Presentation LUT SOP Class, or

- an Image Display Actor supporting the Grayscale Softcopy Presentation State SOP Class

as defined in section 3.1 of the IHE Technical Framework (Year 2).  These actors require a calibration in accordance with the DICOM Grayscale Standard Display Function (GSDF) defined in part 14 of the DICOM standard [1].  In order to assess whether these actors are correctly calibrated, the following steps need to be performed:

- certain test patterns (hardcopy print jobs or softcopy images as defined in the test plans for Image Display and Print Server Actors) are displayed/printed,

- the luminance (softcopy) or optical density (hardcopy) of the test patterns is measured

- the results of the measurements are compared with the expected numbers resulting from a mathematical model of the DICOM GSDF.

This document identifies external tools suitable to perform the measurements required by the Image Display and Print Server test plans.  We are aware that this list is in no way exhaustive or complete.  However, it should give vendors looking for a particular measuring device a starting point for further research.  All information in this document is given to the best of our knowledge but without any warranty.

# Calibration tools

## Hardcopy

For the assessment of the GSDF calibration of hardcopy devices (printers) a densitometer is required.  Densitometers are available both for transmissive media (film) and reflective media (paper).

### Densitometer for transmissive media

| 301 Transmission Densitometer |  |
| --- | --- |
| Device type: Transmission densitometer (optionally with RS232) |  |
| Data sheet: http://www.xrite.com/Products/product.asp?Show=Description&id=22 |  |
| X-Rite, Incorporated World Headquarters 3100 44th Street, S.W. Grandville, Michigan 49418 USA | Tel.: +1-616-534-7663 Fax: +1-616-534-8960 Email: - URL: http://www.xrite.com/ http://www.xrite.com/contact/ |

### Densitometer for reflective media

| Densitometer Studio P 44 |  |
| --- | --- |
| Device type: Black and white densitometer |  |
| Data sheet: http://www.koeth.de/p44e.htm |  |
| Densitometer Studio Chameleon |  |
| Device type: Color densitometer (optionally with IR or RS232) |  |
| Data sheet: http://www.koeth.de/densie.htm |  |
| Köth Elektronik GmbH attn. Mr. Ronny Gertz Georgenhäuser Str. 9a D-64409 Messel, Germany | Tel.: +49-6159-5095 Fax: +49-6159-5096 Email: koeth@t-online.de URL: http://www.koeth.de/ |

## Softcopy

For the assessment of the GSDF calibration of a softcopy display system (which is defined here as the combination of display device, graphics adapter, device driver and image display software), a photometer is required.  Two types of photometers are available:

- suction cup photometers measure luminance directly on the monitor’s screen.  The luminance caused by reflected ambient light is typically not measured by these devices.  Since the DICOM GSDF requires that the reflected ambient light is measured, this must be performed with separate devices if suction cup photometers are used.

- spot meter photometers allow to measure the luminance at a distance (e. g. one meter). Measurements include the luminance contribution from reflected ambient light.

### Luminance meter (on-screen)

| VeriLUM |  |
| --- | --- |
| Device type: Suction cup luminance pod (with RS232 and software) |  |
| Data sheet: http://www.image-smiths.com/Features.htm |  |
| IMAGE Smiths, Inc. 19512-D Amaranth Drive Germantown Maryland 20874 USA | Contact: Jerry W. Gaskill, PhM Tel.: +1-301-515-7500 Fax: +1-301-515-8600 Email: jerry@image-smiths.com URL: http://image-smiths.com/ |

| MAVO MONITOR |  |
| --- | --- |
| Device type: Light level measuring instrument (with tubular measuring probe) |  |
| Data sheet: http://www.gossen-photo.de/uk/produkte/GOSSEN/ mavo.htm#mavomonitor |  |
| GOSSEN Foto- und Lichtmeßtechnik GmbH Lina-Ammon-Straße 22 90471 Nürnberg Germany | Contact: Hans Arnold (managing director) Sabine Stiegler (export manager) Tel.: +49-911-8602 -180 Fax: +49-911-8602 -142 URL: http://www.gossen-photo.de/uk/ |

### Luminance meter (distance)

| MAVO MONITOR + MOVO SPOT |  |
| --- | --- |
| Device type: Light level measuring instrument plus view finder |  |
| Data sheet: http://www.gossen-photo.de/uk/produkte/GOSSEN/ mavo.htm#mavomonitor |  |
| GOSSEN Foto- und Lichtmeßtechnik GmbH Lina-Ammon-Straße 22 90471 Nürnberg Germany | Contact: Hans Arnold (managing director) Sabine Stiegler (export manager) Tel.: +49-911-8602 -180 Fax: +49-911-8602 -142 URL: http://www.gossen-photo.de/uk/ |

| Luminance Meter LS-100 |  |
| --- | --- |
| Device type: Spot luminance meter (with RS232) |  |
| Data sheet: http://www.minoltaeurope.com/ii/industrialmeters/light/ls-100.html http://www.minoltausa.com/mainframe.asp?productID=449 &whichProductSection=1&whichSection=3 |  |
| Luminance Meter LS-110 |  |
| Device type: Spot luminance meter (with RS232) |  |
| Data sheet: http://www.minoltausa.com/mainframe.asp?productID=450 &whichProductSection=1&whichSection=3 |  |
| Minolta Europe GmbH Minoltaring 11 D-30855 Langenhagen Germany | Tel.: +49-511-7404-0 Fax: +49-511-741050 Email: - URL: http://www.minoltaeurope.com/ |
| Minolta U.S.A., Inc. - - USA | Tel.: - Fax: - Email: isdlightmeter@minolta.com URL: http://www.minoltausa.com/ |

| CANDELAMON |  |
| --- | --- |
| Device type: Hand-held light intensity optical recorder |  |
| Data sheet: http://www.pehamed.de/ECANMON.HTM |  |
| PEHA med. Geraete GmbH Muehlstrasse 38 D-65843 Sulzbach Germany | Tel.: +49-6196-5004030 Fax: +49-6196-5004050 Email: - URL: http://www.pehamed.de/ |

| LX 2000 |  |
| --- | --- |
| Device type: Luminance and illuminance meter |  |
| Data sheet: http://www.wellhofer.com/Products/english/rdiagno/rd_lumil.htm |  |
| Wellhöfer Dosimetrie Bahnhofstr. 5 D-90592 Schwarzenbruck Germany | Tel.: +49-9128-607-0 Fax: +49-9128-607-10 Email: info@wellhofer.com URL: http://www.wellhofer.de/ |
| Scanditronix Wellhofer North America 3111 Stage Post Dr. Suite 105 Bartlett TN 38133 USA | Tel.: +1-901-386-2242 Fax: +1-901-382-9453 Email: wellusa@aol.com URL: http://www.wellhofer.com/ |

# References

[1]	NEMA Standards Publications PS 3.14-1999, Digital Imaging and Communications in Medicine (DICOM), Part 14: Grayscale Standard Display Function, National Electrical Manufacturers Association, Rosslyn, VA, 1999.