## Input
IHE Year 2
Softcopy Calibration Form
Vendor / Device | OFFIS, DICOMscope 3.0
Date / Time | 2000-07-05, 17:45
Performed by | Jörg Riesmeier
Ambient Light | 1,5
Lum [cd/m²]
measured DDL #1 | 0.24 | 0% (black)
measured DDL #2 | 0.97
measured DDL #3 | 1.87
measured DDL #4 | 3.01
measured DDL #5 | 4.34
measured DDL #6 | 5.97
measured DDL #7 | 7.9
measured DDL #8 | 10.24
measured DDL #9 | 12.78 | 50% (gray)
measured DDL #10 | 16
measured DDL #11 | 19.76
measured DDL #12 | 23.99
measured DDL #13 | 29.02
measured DDL #14 | 34.62
measured DDL #15 | 41.45
measured DDL #16 | 48.84
measured DDL #17 | 57 | 100% (white)
determined Lmin | 0.24 | cd/m²
determined Lmax | 57 | cd/m²
calculated JNDmin | #VALUE! | #VALUE!
calculated JNDmax | #VALUE! | #VALUE!
calculated JND # | #VALUE!
overall Status | #VALUE!

## Output
IHE Year 2
Softcopy Calibration Form
Vendor / Device: |  |  | OFFIS, DICOMscope 3.0
Date / Time: |  |  | 2000-07-05, 17:45
Performed by: |  |  | Jörg Riesmeier
Ambient Light: |  |  | 1,5
# | DDL | Measured* | GSDF | Difference
1 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
2 | 16 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
3 | 32 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
4 | 48 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
5 | 64 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
6 | 80 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
7 | 96 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
8 | 112 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
9 | 128 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
10 | 144 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
11 | 160 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
12 | 176 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
13 | 192 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
14 | 208 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
15 | 224 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
16 | 240 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
17 | 255 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | Mean: | #VALUE! | #VALUE!
|  |  | Std. Dev.: | #VALUE! | #VALUE!
* including Ambient Light